## Sheet1
合同模型版本(contract_type) | *分类(categories) | *耐力属性code(cl_baseline_code) | 是否发生变更（Yes/No）(Yes_no) | 产品线(Product_line) | 基线适用区域(area) | 合同类型（弃用）(baseline_version) | 合同类型(baseline_version_new) | 卷类型(contract_model_type) | 适用机型(applicable_model) | 适用功率范围(power_range) | 吊装类型（通用基线全选）(Lifting_type) | 耐力基线版本(item_version) | *合同必签(contract_signed) | *投标必查(bidding_check_level) | *耐力重要度(endurance_abc) | 耐力基线code(baseline_sub_code) | Handover关键信息(handover) | *合同基线(endurance_value) | 中风险阈值(合同偏差超出此阈值判定为中风险)(mid_risk_threhold) | 高风险阈值(合同偏差超出此阈值判定为高风险)(high_risk_threhold) | 耐力成熟度(endurance_mature) | 相关文件(revelant_file) | 对外澄清意见(clarify_suggestion_external) | 相关的标准文档(RelevantStandardDocument) | 对内风险控制要求(risk_controlre_internal) | 查检等级(risk_level) | 基线来源(baseline_source) | 决策道场(decide_room) | 评审意见(decide_suggestion) | 基线分级(classification) | 合同偏差比例(gaps_ratio) | 履约环节失效频次(failure_times) | 已查合同数(checked_proj_num) | 查检等级-合同偏差比例(gap_result) | 查检等级-履约环节失效频次(failure_result) | 查检等级-已查合同数(checked_result) | 耐力基线检查等级code（生产需隐藏）(risk_level_code) | 检查等级-耐力属性重要度（生产需隐藏）(imp_result) | *LTC中部屋(LTCmidwarroom) | *LTC中部屋(展示名)(LTCmidwarroom_ACN) | *LTC CBB(LTCcbb_group) | *LTC CBB(展示名)(LTCcbb_group_ACN) | 产品中部屋(Productmidwarroom) | 产品中部屋(展示名)(Productmidwarroom_ACN) | 产品类别TBB(product_tbb) | 产品类别TBB(展示名)(product_tbb_ACN)
V6.0 | Other | LTSA-SER-000 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | c | No | Yes | C | LTSA-SER-000-0001 |  | 注：other指合同模型中缺失的耐力属性，请在合同实例表中按需录入合同压力与偏差情况。 Note: 'other' refers to the missing endurance attribute in the contract model. Please enter the contract pressure and deviation in the contract instance table. | [7 empty] | 合同必查-H/Must-check elements-H |  | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.6 | 0 | 10 | H | L | Y | H | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 业主服务范围 Employer's Scope of Work | LTSA-SER-026 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-026-0001 |  | 以下项应包括在雇主的履约范围和合同义务内 1.风电场内风机的适用性，即使风电场的场地数据和/或设计（如风机基础）经过远景审核，客户仍应对其风电场内的风机的适用性负责。 2.提供的数据，客户应对向远景提供的数据负责，远景根据这些数据进行自己的设计、施工或维护工作。 3.风机（人员、材料、工具、起重机等）的可到达性，包括物理和社会两方面 4.有害物质处置，将有害物质从现场清除并处置工程产生的废物。 5.现场安保 6.与电网/购电方的沟通 7.提供公共设施和办公设施 8.风电场工作各方的协调 9.风电场仓库符合Envision规范（空间、温度、湿度、高架、叉车、化学品特殊条件等） 10.BOP的运行和维护，包括通信线路、土建工程、EBoP、公用设施、办公设施。 11.出口管制，客户不得将远景提供的风力发电机组产生的电力传输给/用于禁止的行为/团体。客户也不得将远景提供的服务和/或材料转让或出口到任何受制裁方或国家。 12. 许可证、进口等方面的支持，客户应合理支持远景获得开展风电业务的许可证，例如在其风电场供应、安装、调试、运营、维护风力发电机组以及作为发货收货人、客户清关等. 13.客户对远景的工作有权进行检查，对远景提交的备件，有权进行检查，这些检查不应影响远景的正常工作，如需停机，停机时间视为可用。检查应提前X日通知。客户自行承担检查费用。 Following items is to be within Employer's scope and obligation 1.Suitability of WTGs at wind farm, even the site data and/or design of wind farm (such as WTG foundation) was reviewed by Envision, the Employer shall be responsible for the suitability of WTGs at its wind farm. 2.Data provided, the Employer shall be responsible for the data provided to Envision, based on which Envision makes its own design, or construction work, or maintenance work. 3.Accessibility, both physical and social, for people, material, tools, cranes, etc, 4.Disposal of hazardous materials, Remove hazardous material from site.Disposal the waste generated from the Works. 5.Security at site 6.Communication with grid/Power Purchaser 7.Provision of utility and office facility 8.Coordination of parties working at wind farms 9.Warehouse at WF with Envision specifications (space, temperature, humidity, overhead, forklift, special conditions for chemicals, etc.) 10.Operation and maintenance of BOP including communication line, civil works, EBoP, utilities, office facilities. 11.Export Control, Employer shall not transmit the power produced by the WTGs supplied by Envision to/for prohibited action/party. Neither shall the Employer transfer or export the service and/or material provided by Envision to any sanctionable party or country. 12.Support for permits, importation etc., The Employer shall reasonable support Envision to get permit for doing wind business, include but not limited to supply, install, commission, operate, maintain WTGs at it wind farm as well as working as consignee of shipment, customer clearance etc. 13. The Employer is entitled to inspect the Works/Service performed by Envision, to inspect the spare parts as well. Such inspection shall not hamper the Works/Services being performed by Envision. Such inspection shall be informed to Envision X days in advance. Employer shall bear the cost for such inspection. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.625 | 0 | 16 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同价格 Contract Price | LTSA-SER-045 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | A | LTSA-SER-045-0001 |  | 1. Availability of Envision insurances in the Project country shall be checked in advance. If any additional premium, it shall be approved by delivery team and financial team in the Project Budget. 2. Please refer to "Insurance Baseline of International Business" to interpret the contract terms, for conditions go beyond our baseline, please check with Insurance CBB. 3. Envision to provide the applicable insurance policies before the Service Commencement Date, for the others 30-60 days after the Service Commencement Date at the earliest. 4. Envision is co-insured by the customer in CAR during construction before COD and in AR during the operation period, and there is a waiver of subrogation. 5. Each party to bear the deductible in its' own insurances unless the event is caused by the other party. 6. Envision shall have no insurance coverage related to Terrorism, Decennial Liability or Professional Liability. 1. 在签约前应确认在项目国是否能买到运维相关保险，如需支付额外保费，需交付团队和财务团队批准，并纳入项目预算 2. 参照“国际保险基线”解读合同，超过基线部分，请保险CBB审核 3. 远景最早在服务开始日前30-60天提供保单 4. 在客户项目阶段购买的CAR保险，以及COD的AR保险要把远景作为共同被保险人，保险公司放弃代位求偿权 5. 双方各自负担保险免赔额 6. 远景的保险不包括恐怖主义Decennial Liability or Professional Liability | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.066667 | 0 | 15 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_antiao | 安调督导CBB Installation Supervison CBB
V6.0 | 合同价格 Contract Price | LTSA-SER-044 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-044-0001 |  | 运维期我方保险一般包括： 1. CGL-第三方责任险：建议由业主购买，将远景作为共同被保险人。如果客户要求，只能提供500万USD的CGL-第三者责任险，超过500万需由保险CBB审批。注意LTSA中不提供CGL-产品责任险。 2. 雇主责任险或雇主工伤Employer Liability Insurance; 3. 运输险Marine Cargo transportation insurance; 4. 工伤险/劳工补偿险 Inductrial injury/ Worker Compensation Insurance; 5. 机动车险 Auto Insurance. 注意： 1. 财产一切险和机器损坏线均是机组运维期所需保险，但均应由业主购买，远景作为共同被保险人。 并且LTSA中基线中不接受由远景购买承包商工具、备件的财产险。 2. 请参考“国际业务保险基线”表，并和保险CBB负责人确认是否可以提供客户所要求的保险。 The Insurance provided by Envision in LTSA includes： 1. CGL-Third party liability insurrance. Suggested to be procured by the Employer and coiusurandce Envision. If it's a must for Envision to provide, the coverage amount shall be no more than 5 million USD. In no way shall CGL- product liability insurance be provided in LTSA. 2. Employer Liability Insurance; 3. Marine Cargo transportation insurance; 4. Inductrial injury/ Worker Compensation Insurance; 5. Auto Insurance. Notes: 1. Property all risks insurance and Machinery Breakdown insurance need to be procured and maintained by the Employer. And Property all risks insurance for Contractor's Equipment are not accepted to be included in Contractor's insurance. If needed, the availability and cost to be checked by insurance CBB . 2. Please refer to the " Insurances for International Business-baseline" to check which kinds of insurance shall be provided by Envision and the customer. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.13333 | 0 | 15 | M | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_antiao | 安调督导CBB Installation Supervison CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-051 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | a | Yes | Yes | A | LTSA-SER-051-0001 |  | 过渡期，亦称 Early Generation Period, 指首台风机调试完成到风场全部风机并网，满足COD条件。 Interim, also called Early Generation Period, means the period from the commissioning completion of 1st WTG of the project to the project COD. 首台风机调试完成之后，对风机的维护工作已经事实上开始，应就此服务向客户收费，可以按照$/WTG/day收取，也可以按lump-sum收取。考虑到主机的质保期从项目COD开始，避免延长质保期，此过渡期延长不得大于3个月,即使客户支付期间的运维费用。 After the 1st commissioning completion, the maintenance service starts already, and to be pay to by the Employer to Envision on $/WTG/day basis, or in lump-sum amount. Considering the warranty of Covered Equipment physically started from commissioning, to avoid extension of warranty, such extension of interim/EGP shall not be longer than 3 months than the original plan, even if the such service is paid. | 超过3个月 More than 3 months | More than 6 months | [5 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element |  |  |  | 0.33333 | 0 | 6 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_antiao | 安调督导CBB Installation Supervison CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-047 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | c | Yes | Yes | A | LTSA-SER-047-0001 |  | 【商务卷中同步检查 Also check in commercial volume】 1. 根据TSA中进质保时间（PCOD/Substantial Completion或Commisioning Completion等），同时进入LTSA； the start of the LTSA Term needs to be equal to or earlier than the commencement of the TSA warranty period. 2. 单台调试完成至进入LTSA之前的过渡期（Interim Period）服务需收费，价格需高于具体项目机组全运行寿命期日平均服务费价格，优先在TSA中收取更好；若过渡期客户停机不发电，仍需有机组维护费用，按过渡期正常运营服务费50%收取。若TSA中无此项收费，在LTSA中收取。 For the service fee during the Interim Period/Early Generation Period after commissioning completion of the first WTG in the plant, it shall be equal to or more than the average daily service fee of the total service fee in the 20-30 operatoion life of the WTGs in the Project; if customer requires only maitennace and no operation of the WTGs during the interim period, 50% of the above-mentioned interim service fee will be charged. The interim period service fee is recommended to be charged in the TSA. If not, it shall be charged in LTSA. | [7 empty] | 合同必查-H/Must-check elements-H |  | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room | 测试用，Test. 内容本身需要评审 |  | 0.071429 | 0 | 14 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-048 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | b | Yes | Yes | A | LTSA-SER-048-0001 |  | 合同义务自合约结束不再有效，除 survival terms 从计划合同期限届满日（Commencement Date＋ x 年）开始，风机的风险转移给客户，远景对此后出现的缺陷或故障不负责任，除非该缺陷或故障在完成日之前已经被确认。 The contractual obligation shall expire after the end of the term( Commencement Date + x years) , except those survival terms. Risk of WTGs (Works) shall be transferred from the Expiry date, any defects, failures, damages which occur after the Expiry Data, shall be the responsibility of the Employer. Envision is only responsible for any work which should have been completed before the Expiry Date | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 13 | L | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-019 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | B | LTSA-SER-019-0001 | [9 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.5 | 0 | 14 | H | L | Y | H | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-018 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-018-0001 |  | 在计划LTSA结束日前x月，（视风机台数的多少而定）向客户提出办理移交手续，双方对风机进行检查，完成Punch list 合同到期结束(或被终止)时的现场清理，人员物料设备撤场 有效期结束报告/证书签署 于客户就合同关闭达成一致 如果风机是按批次进入LTSA，则按批次完成合同 对Punch list双方约定在一定时间内完成；或由客户完成，远景支付相关费用 双方对合同执行过程中发生的索赔事宜（如有）达成一致 上述事项完成后客户签署最终验收证书 客户退还保函原件 X months before the Expiry Date, (as the WTGs may be) Envision shall initiate closing process. The parties shall inspect WTGs, and make punch list (if applicable) Clearance of site at the end of term, removal of material, equipement, and staff. Term end report/certificate to be signed Settlement with customer The contract can be close as per batch of which the LTSA commences on the same date. Parties shall agree that the items under punch list shall be completed within certain time period, or some (or all) of the items under punch list can be completed by Employer at Envision's cost. Parties shall reach consent on claims (if any) The Employer shall sign Final Acceptance Certificate after above are done Employer returns the original of performance security. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.64286 | 0 | 14 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-020 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-020-0001 |  | 合同期限届满前ｘ日／月，远景通知客户 双方可就风机进行检查，远景对检查出的不符事项进行整改，以达到合同要求。 客户可检查远景提交的文件／报告 X days/months before the end of term, Envision notify Employer for completion of contract Parties can walk down the Covered Equipment/ carry out inspection. Envision shall correct any deviation found, (if any) Employer can check the document/report. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.35714 | 0 | 14 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-021 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | A | LTSA-SER-021-0001 |  | 计划合同结束日后3个月，无论是否签署FAC，远景对现场工作的义务结束。客户可能不会接受视同验收 该项是视同接收的延伸 Employer may not accept Deemed Acceptance. The concept is the extension of Deemed Take-Over. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.64286 | 0 | 14 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-002 | Yes | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | a | No | Yes | B | LTSA-SER-002-0004 |  | 应明确不包含在远景工作范围内的事项： 1) 非按规程操作导致的故障 2) 超过产品设计许用边界，造成的故障 3) 正常磨损 4) 叶片前缘保护的维护 5) 对叶片，塔筒，机舱，零部件的清洗，刷漆，表面处理 6) 在LTSA中不宜承诺LTSA届满后保证部件的供应 7) 现场安全 8) 任何软件升级 海上风电特别注意： 9）临时渡口 10) 极端天气 11) 海床勘测 The following shall be clearly excluded from Envision's scope 1) Failure caused by operation that does not comply with the manual 2) Failure caused by peration beyond the designed specifcition 3) Normal wear and tear 4) Blade leading edge protection 5) Cleaning, painting, resurfacing of WTG or part of WTG, such as blade, tower, etc. 6) No guaranty of availability of parts shall be provided after LTSA term. 7）Site security 8）Any software upgrade Attention to offshore project: 9)jetty 10)weather conditions 11)seabed inspection | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-002 | Yes | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | c | No | Yes | B | LTSA-SER-002-0002 |  | 应明确不包含在远景工作范围内的事项： 1) 非按规程操作导致的故障 2) 超过产品设计许用边界，造成的故障 3) 正常磨损 4) 叶片前缘保护的维护 5) 对叶片，塔筒，机舱，零部件的清洗，刷漆，表面处理 6) 在LTSA中不宜承诺LTSA届满后保证部件的供应 7) 现场安全 8) 任何软件升级 9) 对于位于海岛上的风场，【特别是菲律宾】，对Jetty，以及从Jetty到风场的道路不在远景的范围内 10)不可抗力，特别注意“雷击”【目前科技水平尚无法完整描述一个雷电，尽管在风机设计过程中考虑了雷击并设定了防雷标准，如电流200kA，现实中仍然会大量出现雷电流在防雷设计值之内，但风机被损坏的情况，因此“在设计值之内的雷击损失由厂家承担”只是听上去合理，但实际不合理。建议把所有累计作为不可抗力处理，客户购买保险解决】 The following shall be clearly excluded from Envision's scope 1) Failure caused by operation that does not comply with the manual 2) Failure caused by operation beyond the designed specification 3) Normal wear and tear 4) Blade leading edge protection 5) Cleaning, painting, resurfacing of WTG or part of WTG, such as blade, tower, etc. 6) No guaranty of availability of parts shall be provided after LTSA term. 7）Site security 8）Any software upgrade 9) In case the wind farm is located on an island, [specifically such as in Philippines], Jetty and the road from Jetty to wind farm shall be excluded. 10)Force majeure, especially "lightning strike" [the current level of technology is not yet able to fully describe a lightning strike. Although lightning strikes are considered in the designing and lightning protection standards are set, such as current 200kA, there are still a lot of cases that lightning currents within the lightning protection design value, but the wind turbine is damaged. Therefore, "the manufacturer shall bear the lightning strike risk within the design value" only sounds reasonable, but it is not practical in reality. It is requested to treat all lightening as force majeure which can be cover by customer's insurance] | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-002 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | B | LTSA-SER-002-0001 |  | 应明确不包含在远景工作范围内的事项： 1) 非按规程操作导致的故障 2) 超过产品设计许用边界，造成的故障 3) 正常磨损 4) 叶片前缘保护的维护 5) 对叶片，塔筒，机舱，零部件的清洗，刷漆，表面处理，因远景原因造成的污染除外 6) 在LTSA中不宜承诺LTSA届满后保证部件的供应 7) 现场安全 The following shall be clearly excluded from Envision's scope 1) Failure caused by operation that does not comply with the manual 2) Failure caused by operation beyond the designed specification 3) Normal wear and tear 4) Blade leading edge protection 5) Cleaning, painting, resurfacing of WTG or part of WTG, such as blade, tower, etc，unless such is caused by Envision 6) No guaranty of availability of parts shall be provided after LTSA term. 7) Site security 磨损的参考定义 Definition of Wear and Tear for reference: Wear and Tear, other than defect, refers to the natural, expected and inevitable degradation that occurs due to normal use, friction, aging, or environmental exposure (such as solar radiation, rain, sand, humidity, salt spray etc.) over time. Wear and tear results from routine activities, accumulates gradually, involves surface abrasion, adhesion, corrosion, cosmetic damage, structural weakening, or functional decline. Unless otherwise stipulated under this contract, wear and tear is excluded from the scope of work of the Contractor. | 明确叶片前缘保护的修理在远景范围 | [6 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.6 | 0 | 15 | H | L | Y | H | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-001 | Yes | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | a | Yes | Yes | A | LTSA-SER-001-0004 |  | LTSA中应对以下名词进行明确定义，以确定LTSA项下远景的工作范围: 1)风 机，机械，电气，控制/通讯界面，即远景在TSA下的供货范围，也可称为Serviced Equipment，或Covered Equipment； 2)大部件的定义； 3)Defect定义； 4)BOP，明确由BOP contractor或业主负责 以上定义须和TSA中的定义一致。 The following shall be clearly defined under LTSA, to make the scope of work of Envision clear: 1)WTG, the electrical, maniacal,communication interface. i.e. the scope of Envision under TSA, which can also be named as Serviced Equipment or Covered Equipment; 2)Main or Major Components, 3)Defect, 4)BOP, anything other than WTGs in Wind Farm. which is in the scope of Employer, The above definitions shall be aligned with that under TSA. 5)工作或服务，对风机/Covered Equipment/Serviced Equipment提供的运维服务【具体内容见基线相关条款】，作为LTSA合同范围。此范围根据项目定义，确保LTSA服务的对象为TSA的供货范围。 工作范围须依据标准SOW文件，逐条对照，不一致之处要经过审批。 5)Work or Service, maintenance services on the WTGs/Covered Equipment/Serviced Equipment【also refer to related other baselines】, which is the scope of Envision under this LTSA。 This shall be defined per project, and making sure Envision's Works under LTSA covers only that under TSA. Any deviation from Envision standard SOW needs approval. 远景的工作范围，DOR或SOW检查表作为LTSA的附件。 Envision's scope and obligation can be attached to the LTSA. 可选项应单独确认，比如davit crane是否在正常供货范围； The scope shall be confirmed, such as davit crane | 服务的标的超过TSA的供货分为 The object of the service is more than that supplied under TSA. | [6 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-001 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-001-0001 |  | LTSA中应对以下名词进行明确定义，以确定LTSA项下远景的工作范围: 1)风 机，机械，电气，控制/通讯界面，即远景在TSA下的供货范围，也可称为Serviced Equipment，或Covered Equipment； 2)大部件的定义； 3)Defect定义； 4)BOP，明确由BOP contractor或业主负责 以上定义须和TSA中的定义一致。 The following shall be clearly defined under LTSA, to make the scope of work of Envision clear: 1)WTG, the electrical, maniacal,communication interface. i.e. the scope of Envision under TSA, which can also be named as Serviced Equipment or Covered Equipment; 2)Main or Major Components, 3)Defect, 4)BOP, anything other than WTGs in Wind Farm. which is in the scope of Employer, The above definitions shall be aligned with that under TSA. 5)工作或服务，对风机/Covered Equipment/Serviced Equipment提供的运维服务【具体内容见基线相关条款】，作为LTSA合同范围。此范围根据项目定义，确保LTSA服务的对象为TSA的供货范围。 工作范围须依据标准SOW文件，逐条对照，不一致之处要经过审批。 5)Work or Service, maintenance services on the WTGs/Covered Equipment/Serviced Equipment【also refer to related other baselines】, which is the scope of Envision under this LTSA。 This shall be defined per project, and making sure Envision's Works under LTSA covers only that under TSA. Any deviation from Envision standard SOW needs approval. 远景的工作范围，DOR或SOW检查表作为LTSA的附件。 Envision's scope and obligation can be attached to the LTSA. | 服务的标的超过TSA的供货分为 The object of the service is more than that supplied under TSA. | [6 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.2 | 0 | 15 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-022 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | C | LTSA-SER-022-0001 |  | 远景应派遣合格的雇员从事现场工作。 远景可以提供现场人员的身份和培训信息 遵守现场的规章制度 Envision recruits qualified employees for on-site work. Envision can provide identity and training information for field personnel All personnel shall abide by the site rules and regulations. 对现场人员不接受客户的如下要求： 固定的现场驻场人数 非法定工作时间外即时响应的要求(远程监控除外) 对故障处理反应时间的要求 The following requirements from Employer shall be rejected: Fixed amount of on-site staffs Requirements for immediate response outside statutory working hours（Remote Monitoring excluded) Requirements for fault handling reaction time Either party shall hire employees of the other party, unless such employer has left the part for more than 2 years. 双方都不雇佣对方员工，除非该员工已离职2年以上 远景不承诺维护人员全时在风场，不承诺现场工作的人数 Envision does not commit the personnel on site full time, neither a number of personnel. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.53333 | 0 | 15 | H | L | Y | H | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-025 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | c | No | Yes | C | LTSA-SER-025-0001 |  | 远景提供现场人员的个人劳保用品，手机或对讲机，工作电脑等 Envison provides personal labor protection supplies, mobile phones or walkie-talkies, work laptops, etc. for on-site personnel | [7 empty] | 参考要素-L/Reference elements-L | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 15 | L | L | Y | L | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-023 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | C | LTSA-SER-023-0001 |  | 远景负责运维合同期间的备件，耗材 客户须接受远景使用翻新件 Provision of consumables/material Provision of parts (new and refurbished)-correctives 物料的交付方式可以为DDP Term of provision of material can be DDP. 物料所有权在物料被安装/使用在风机上之前不转移给客户 （参见商务条款与风险所有权相关的部分），更换下来的物料所有权属于远景。合同到期或被终止后，远景有权处置这些物料。 The ownership of the material shall not be transferred from Envision to Customer before the material is installed/used on the WTG, (please also refer to the commercial term pertaining the ownership and risk transfer), the ownership of the parts which have been detached from the turbine belong to Envision. Envision may dispose such material as it wishes at the end of the term or termination of LTSA. 如客户在TSA购买了合同备件（亦称初始备件），其所有权属于客户，远景“可以”管理这些备件，需要时借用，并在一定期限内归还，最迟不晚于合同期结束前。如借用客户的备件为新件，归还也应为新件。 In case the Customer purchased spare parts under TSA, "Contractual Spare Parts" (or Initial Spare Parts), ownership of such belongs to the Customer. Envision may manage the stock of such, borrow items in case of need, and return in certain time, the latest is the end of term. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.4 | 0 | 15 | H | L | Y | H | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-024 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | C | LTSA-SER-024-0001 |  | 远景负责运维合同期间的工具（自有或租赁）管理 Tooling (rental/owned) management within Envision scope at site | [7 empty] | 参考要素-L/Reference elements-L | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 16 | L | L | Y | L | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-011 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-011-0001 |  | SCADA(由远景提供的)维护，包括本地或远程软件更新与纠错 SCADA(supplied by Envision) maintenance Software update and debug，either locally or remotely. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 16 | L | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-012 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | B | LTSA-SER-012-0001 |  | 远景应对故障进行修复 Corrective maintenance , repair any defects 1) 小修 (WBS 6-2-1) Minor Corrective Maintenance 2) 技改 (WBS 6-2-2) Engineering Notification 3) 大部件定义 大修 (WBS 6-2-3) Definition of major components major correctives 4) 远景负责大修使用的吊车及吊车辅助工具/服务 (WBS 6-2-3-3) Crane rental/supply 对于故障（报警）反应时间，如果远程监控可视为“反应”，可接受。 不接受人员到场时间限制。 不接受修理完成时间。 If the response time from 24/7 (RCC) counts, it's OK to accept reasonable response time under the condition the communication line (internet) is available. Do not accept the time during which the people must be at site. Do not accept a time of completion of any corrective maintenance. | 对报警反应时间（除24/7(RCC)外)和故障处理完成时间有要求 | [6 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.066667 | 0 | 15 | M | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-009 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | c | No | Yes | B | LTSA-SER-009-0001 |  | 远景提供以下预测性维护服务： The Contractor provides prodictive maintenances inlcuding the following: 1) 内窥镜检查，如需 (6-1-2-1) Boroscope inspections of the gearbox，when needed. 2) 油样检测 (6-1-2-2) Oil Testing 3) 状态检测服务 (WBS 6-1-4) Condition Monitoring Service | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 15 | L | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-009 | No | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | b | No | Yes | B | LTSA-SER-009-0002 |  | 远景提供以下预测性维护服务： The Contractor provides prodictive maintenances inlcuding the following: 1) 内窥镜检查，如需 (6-1-2-1) Boroscope inspections of the gearbox，when needed. 2) 油样检测 (6-1-2-2) Oil Testing | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-010 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | B | LTSA-SER-010-0001 |  | 1) 远景按照维护手册要求提供预防性维护 The Contractor shall carry out preventive maintenance as per O&M manual 2) 叶片检查 Blade Inspection 叶片检查外观检查可包含在远景范围内，如采用望远镜，照相机，无人机，可接受。如要求采用平台，吊篮等近距离人工检查，需增加成本。 Blade surface inspection shall be included, by using telescope, camera, drones. If platform, man basket are requested, relevant cost to be budgeted. 合同应默认远景有权决定是否进行叶片内部检查。如客户要求必须进行内部检查，要在增加相应的成本预算。 It's sole discretion of Envision to do internal inspection. If Employer insists, additional cost to be budgeted/ 叶片检查期间风机视为可用 Blade inspection shall be deem WTG available | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.26667 | 0 | 15 | M | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-006 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-006-0001 |  | 备件(包括客户在TSA项下购买的备件和远景自有备件）及库房管理，办公设施管理，如互联网（库房，办公设施，互联网等由业主提供） Management of Spare Pparts(Spare Parts purchased by the Customer under TSA and spare parts owned by Envision) at warehouse, Management of office facilities, such as internet connection(which is provided by Employer). | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.066667 | 0 | 15 | M | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-008 | No | 风机/Wind turbine | 印度/India,欧洲/Europe,澳洲/Australia,亚非/Asia-Africa,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | c | Yes | Yes | A | LTSA-SER-008-0002 |  | 远景可对LTSA项下的运维工作向客户提交报告，或文件 1）对突发事件报告(或通知)，即时提交，或在事实上可行的、合理的最短时间内提供。 2）保存工作记录， 工作完成后合理时间内提交（例如，软件更新，Additional Service等完成后提交） 3）提供月报，提交时间不少于该月末后3个工作日 4）提供年报（可将全年信息并入最后一个月的月报中）,至少10个工作日后提交。 5）事件报告，根因分析报告（如有） 6）可以提供运维手册, 检查表，及其更新的版本, 包括纸版和电子版 7）报警列表，需经技术主控/Scada团队确认 8）Additional service涉及的技术文件 9）对风机状态的预测性文件(可包括在月报中） Envision can provide document or report: 1)Immediate report (inform) on accident，or with reasonably feasible time frame. 2)Keep working log, within reasonable time frame (e.g. software update, Additional Service, to be provided after completion of work) 3)Reporting-Monthly，not early than 3 working days after the end of reporting month 4)Reporting-Yearly (can be included in the 12th monthly report), at least 10 business days after the end of year 5)Reports on event 6)O&M manuals and related updates, check list, including SCADA, both paper copy and e-copy; 7)Alarm list, subject to the confirmation by PLC control and SCADA team; 8)Files related to the Additional Service 9)Predictive(s) of the status of WTG 远景不应提供如下文件： 1）不提供非直接用于运维的文件，比如零部件的“详细”规格及供应链信息，风机的控制逻辑信息，风机的BOM 2）不提供涉及风机 /SCADA性能规范的文件，以及安装调试手册和过程文件，建议在TSA下提供。 3）不提供发电量预测，除非预测工具为远景提供，且客户提供气象信息。不接受对预测准确性的要求。 The following document can be provided to the Customer: 1)non-O&M related, such as the detail data of parts, its supplier, control logic, and BOM 2)document in relation to the specification of WTG, installation and commissioning shall be provided under TSA. 3)Forecast of power production, unless such forecast tools is provided by Envision, and the weather data is provided by the Customer. Commitment to accuracy of forecast is not acceptable. | 客户要求提供零部件的“详细”规格及供应链信息，风机的控制逻辑信息，风机的BOM等 | [6 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.66667 | 0 | 3 | H | L | N | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-008 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-008-0001 |  | 对突发事件或反常事件立即报告(或通知) 保存工作记录 提供月报 提供年报（可将全年信息并入最后一个月的月报中） 事件报告，根因分析报告（如有） Immediate report (inform) on accident/irregularities. Keep working log Reporting-Monthly Reporting-Yearly Reports on event/ Root Cause Analysis | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.46154 | 0 | 13 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-007 | No | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | c | No | Yes | B | LTSA-SER-007-0002 |  | 1. 远景现场工作人员应满足EHS的要求，制定EHS计划，并严格执行；客户在项目审批过程中的EHS报告/文件可接受。 On-site staff shall meet the requirements of EHS, make EHS plan, then execute strictly 【Notes: Environment Standards包括融资方、PPA、法律法规、环评报告文件中和运维服务相关的环保要求, 需要求客户提供相关项目文件对于EHS具体要求，远景需在签约前对以上项目文件做尽调和审核。Need customer to provide the related requirement/clauses in Project Agreements and extract the WTG related clause and make it as a schedule attached to the LTSA to limit Envision's exposure/ or make reference to the clause in the Project Agreements.】 2. 远景负责作业区域范围的文明施工，将垃圾收集到客户指定的现场内垃圾收纳地点，场外处理危废由客户负责。客户对设备作业所需的EHS许可负责。 如客户坚持让远景在场外处理危废，可接受，但须做相应的危废处理成本预算。 The Contractor is responsible for the safe and environment to the extent such is connected to Service/Work at the Site. The Contractor will collect the waste to the designated container/venue at site．The Employer is responsible for waste disposal outside the site. Employer shall be responsible for permits of EHS for operation of Covered Components. If the Employer insists that Envision does waste disposal outside site, it's acceptable under the condition that the related cost is budgeted. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-007 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | c | No | Yes | B | LTSA-SER-007-0001 |  | 1. 远景现场工作人员应满足EHS的要求，制定EHS计划，并严格执行； On-site staff shall meet the requirements of EHS, make EHS plan, then execute strictly 【Notes: Environment Standards包括融资方、PPA、法律法规、环评报告文件中和运维服务相关的环保要求, 需要求客户提供相关项目文件对于EHS具体要求，远景需在签约前对以上项目文件做尽调和审核。Need customer to provide the related requirement/clauses in Project Agreements and extract the WTG related clause and make it as a schedule attahed to the LTSA to limit Envision's exposure/ or make reference to the clause in the Project Agreements.】 2. 远景负责作业区域范围的文明施工，将垃圾收集到客户指定的风场内垃圾收纳地点，由客户开展垃圾后续处置，同时客户对作业所需的各种环保手续审批负责。The Contractor is responsible for the safe and envirionment friendly construction and operation in the Site. The Contractor will collect the garbage to the designated garbage collection site in the wind farm, and the Employer shall execute the subsequent disposal of the garbage and be responsible for the approval of various environmental protection license and permites required for the operation. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.071429 | 0 | 14 | M | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-004 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-004-0001 |  | 远景依据风机维护手册和项目文件制定现场工作计划，包括风机的维护检修计划，人员计划，EHS计划 ，质量计划等。 如合同中客户要求对远景提交的计划审核批准，可接受。 远景和客户保持沟通，双应指定representative作为正式沟通的界面合同就履行中的日常事项进行沟通。representative无终止合同的权利。如变更，通知对方。不接受representative全时在现场，但在工作时间可联系到。 Envision shall make and provide the Employer Working Plan, including plan of maintenance work at wind farm, staff plan, EHS plan, quality plan etc. It's acceptable that the Employer shall review, comment, or approve the plan. It's acceptable that such plan(s）shall be approved by the Employer. Envision keeps communication with Employer. Each party shall assign Representative, who serves the communication interface for routine works, but not authorized for termination. Any change in terms of Representative, shall be i to be noticed to the other party. The Representative does not have be working on site every day, but shall be reachable during business hours. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-005 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | C | LTSA-SER-005-0001 |  | 远景为其现场工作人员提供交通工具 Envision shall provide vehicle for its staff to perform the contract. | [7 empty] | 参考要素-L/Reference elements-L | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | L | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-005 | Yes | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | a | No | Yes | C | LTSA-SER-005-0004 |  | 远景为其现场工作人员提供交通工具，仅限4驱车辆，不包含道路清理等 Envision shall provide vehicle for its staff to perform the contract,limit to 4-wheel drive vehicles ,and road cleaning are not included 默认远景不为现场工作人员提供交通运输船SOV或者CTV，如客户要求远景提供，应和采购等部门协调，取得相应的供应商报价后接受，要考虑如下因素： 1. 现场风电场的离岸距离 2. 根据当地市场供应商寻源情况 Envision shall not provide vessel, such as SOV, CTV by default. if customer insist Envision to provide such, after having quotation/solution from purchase dept, can be considered, the following shall be aware of: 1)distant to shore 2)the sourcing result of such vessel. | [7 empty] | 参考要素-L/Reference elements-L | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | L | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-017 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | C | LTSA-SER-017-0001 |  | 远景可以应客户要求启动或停止风机，或在允许的范围内设置风机运行的参数。 As per request from the Employer, Envision can start/stop WTGs, or set the parameters of WTGs 24/7远程监控服务。不承诺在当地建设RCC，仅提供监控服务。 24/7 is a service provided by Envision. it's not a commitment to build a RCC in the country, neither not specify where such service is provided. 说明：通常情况下，运行风机是客户的范围，他们需要接受电网指令，并向电网报告风机的运行状态（如需）。 Note：Normally operation of WTGs shall be the work of Employer, who receives the instruction from grid, and reports the conditions of WTGs (in case need) | [7 empty] | 参考要素-L/Reference elements-L | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | L | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-015 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-015-0001 |  | 客户可基于以下原因提出变更需求： 1，由客户原因造成的故障或缺陷需要修理的； 2，由非远景原因造成的故障和缺陷需要修理的 3，由不可抗力事件导致的工作； 4，法律或情势变更； 5，客户提出的其它变更要求 特别地,法律变更不是不可抗力，而客户应该承担的风险，出现法律变更，按照客户提出的变更处理 Employer may request variation due to : 1, any correction to the failure or defect caused by the Employer; 2, any correction to the failure or defect caused by parties other than Envision; 3, any work resulted from Force Majeure Event; 4, any change in law or circumstances; 5, others requested by Employer. Specifically, Change in Law or Circumstances shall be deemed as the Employer's risk rather than Force Majeure, and shall be treated as Addition Service. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-013 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-013-0001 |  | 不包含在合同范围内，双方须签署额外协议 Additional Services are not included in the scope of work of Envision, and shall be done via Variation/Addition order 如果未就额外服务达成一致，按照原合同执行 如果不实施变更导致原合同无法履行，远景有权解除合同，并获得赔偿。 不接受在未就额外服务达成协议前客户有权要求远景实施额外服务。如双方未能就额外服务达成协议，可启动争议解决程序，按争议解决的结论履行或实施。 If parties fail to reach agreement, the original contract shall be executed. If the original contract can not be executed without Additional Service, Envision shall be entitled to terminate the contract and get compensation. It's not acceptable that Employer has the right to force Envision for execution of Additional Service. If parties fail to reach agreement, Dispute can be triggered, and the conclusion shall be followed. | 远景必须按客户要求执行变更 Envision must execute the Additional Service as per Employer's request. | [6 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-014 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-014-0001 |  | 在如下情况下，远景可提出变更要求： 任何对于由远景供货的风机、SCADA，CMS等的升级 任何可以改善客户资产安全性，发电量，延长使用寿命或降低风场运营成本等的升级 Any upgrade to the WTGs, SCADA, CMS, which are originally supplied by Envision Any upgrade which can improve the safety of Employer's asset, energy production, extension of life span, lowering operation cost of wind farm, etc. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 合同标的 Contract Object | LTSA-SER-016 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | A | LTSA-SER-016-0001 |  | 1) 叶片前缘防护的维护 (WBS 6-3-1) Leading Edge Protection maintenance 2) 塔筒清洁 (WBS 6-3-2) Tower Cleaning 3) 场外废料处置 (WBS 6-3-3) Waste disposal outside wind farm 4) 安保 (WBS 6-3-4) Security 5) 公用设施 (WBS 6-3-5) utilities 6) 远程控制中心 (WBS 6-3-6) （此处RCC指为客户提供RCC建设，包括提供硬件，软件，培训等。不同于远景通过自有RCC向客户提供的远程监控服务,且远景承诺提供24/7远程监控服务，不承诺该服务的地点） Remote Control Center 7) 锚笼 (WBS 6-3-7) Anchor Cage 8) 额外培训 (WBS 6-3-8)(在full scope ENAM4，ENAM5范围下，远景做运维，客户如需对客户自己人员进行运维培训，需另行提出，默认客户不需要运维培训） Extra Training 9) 其他可选服务 (WBS 6-3-9) Other optional service 10) BOP维护 (WBS 6-4) BOP Maintenance a) 土建BOP维护 (WBS 6-4-1) Maintenance of Civil BOP b) 电气BOP维护 (WBS 6-4-2) Maintenance of Electrical BOP | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.071429 | 0 | 14 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-037 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | A | LTSA-SER-037-0001 |  | 如下质保属于TSA，虽在LTSA合同阶段由远景现场团队完成，但不应在LTSA中进行规定： 1)功率曲线验证 2)群发性缺陷 3)潜在缺陷（即使在TSA也应避免在LTSA合同期限外提供此项质保） 4)噪声 5)电能质量 TSA项下为整机提供的质保只有在远景负责运维，即LTSA有效并执行的情况才有效。如LTSA被终止，无论因为何种原因，即使尚在主机质保期内，主机质保即失效。 本条内容应在TSA中明确表述 The following warranty belongs to TSA though fulfilled by the Envision on-site staff during the LTSA period shall not be specified herein : 1)Power Curve Verification 2)Serial defects 3)Latent defects (which shall be avoided to provide beyond the LTSA period ) 4)Noise 5)Quality of electric power The warranty provided for WTGs under the TSA is valid to the extent that the WTGs are maintained by Envision under LTSA. The WTGs warranty shall cease to be valid though still under warranty if the LTSA is terminated for any reason. This clause should be expressly provided in the TSA | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.076923 | 0 | 13 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-043 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | A | LTSA-SER-043-0001 |  | 客户不得自行修复任何故障或缺陷而让远景承担其费用，除非： 1、发生对人员生命、身体健康或者财产安全造成损害的紧急情况；或者 2、远景未能在合理时间内对故障或缺陷做出回应 3、客户向远景收取的费用应当合理 如果客户自行修复任故障或缺陷，远景不再为此类工作提供质保 经远景书面授权后，客户方可采取此类补救措施 The Employer shall not remedy any failure or defect by itself at Envision's cost, unless: 1, it's any emergency, which people's life, heath safety or asset safety will be damaged; or 2, Envision fails to respond to the failure or defect in reasonable time period. 3, the cost charged to Envision shall be reasonable. After doing so, the work done by the Employ does not have warranty from Envision. The Employer can do such remedy after Envision's written authorization. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.5 | 0 | 14 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-043 | No | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | b | No | Yes | A | LTSA-SER-043-0002 |  | 客户不得在为经远景授权情况下自行修复任何故障或缺陷而让远景承担其合理的费用，除非： 1、发生对人员生命、身体健康或者财产安全造成损害的紧急情况；或者 2、收到客户通知后，远景未能在合理时间内对故障或缺陷做出回应 3、客户向远景收取的费用应当合理 如果客户自行修复任故障或缺陷，远景不再为此类工作提供质保 经远景书面授权后，客户方可采取此类补救措施 The Employer shall not remedy any failure or defect by itself without Envision's written prior authorization, at Envision's cost, which cost shall be reasonable, unless: 1, it's any emergency, which people's life, heath safety or asset safety will be damaged; or 2, Envision does not respond during reasonable time period after notified by the Employer 3, The cost by the Employer shall be reasonable. After doing so, the work done by the Employ does not have warranty from Envision. The Employer can do such remedy after Envision's written authorization. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-038 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | B | LTSA-SER-038-0001 |  | 远景保证提供的商品和服务遵循以下标准： 1、本合同规定； 2、地方法规，包括但不限于电网规范； 3、项目文件（须在签合同前知晓） 4、良好的行业惯例 在WTG上安装部件或维修完成后，远景将提供1年保修。 对于移交给客户的任何部件，保修期不得超过 15 个月，但不包括客户根据 TSA 购买并由远景在客户仓库管理的初始备件，除非该初始备件有到期日 Envision shall warranty the goods and service provided under this LTSA follow the standard of : 1, this contract; 2, local regulations, including but not limit, grid code; 3, Project document (which shall be reviewed before contract signature) 4, Good Industrial Practice Envision shall provide 1 year warranty after the parts is installed in WTG, or service is completed. For any parts handed over to the Employer, such warranty shall not be longer than 15 months, but not include the initial spare parts purchased by Employer under TSA and managed by Envision in Employer's warehouse, unless there is a expiry date on such initial spare parts. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-038 | No | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | b | No | Yes | B | LTSA-SER-038-0002 |  | 远景保证提供的商品和服务遵循以下标准： 1、本合同规定； 2、地方法规，包括但不限于电网规范； 3、项目文件（须在签合同前知晓）包括PPA， IA（Implementation Agreement）， Environmental approvals, Grid Code. 4、良好的行业惯例 对于移交给客户的任何部件，保修期不得超过 15 个月，但不包括客户根据 TSA 购买并由远景在客户仓库管理的初始备件，除非该初始备件有到期日 Envision shall warranty the goods and service provided under this LTSA follow the standard of : 1, this contract; 2, local regulations, including but not limit, grid code; 3, Project document (which shall be reviewed before contract signature),including PPA， IA（Implementation Agreement）， Environmental approvals, Grid Code. 4, Good Industrial Practice For any parts handed over to the Employer, such warranty shall not be longer than 15 months, but not include the initial spare parts purchased by Employer under TSA and managed by Envision in Employer's warehouse, unless there is a expiry date on such initial spare parts. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | M | M | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-039 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | No | Yes | C | LTSA-SER-039-0001 |  | 远景集团应取得当地国家的运维业务许可 远景应遵守签署 LTSA 之前获得的客户许可。如果任何此类许可在合同签署后适用，则应适用变更 远景应遵守当地国家以及美国、欧盟、英国、中国签署的国际条约，不得在当地提供任何侵犯知识产权的商品或服务 远景不本项目上使用受制裁国家采购的产品或劳务 远景承诺遵守国际通用的商业准则，承诺禁止腐败行为，不使用强制劳动/非法用工（童工）等制造的产品和劳务。 Envisions shall acquire permits for O&M business in local country. Envision shall follow the Employer's permits which are available before signing of the LTSA. If any such permits is applicable after the contract signature, variation shall apply. Envision shall follow the international treaties signed by local country, US, EU, UK, China, and shall not supply any goods or service which violate the IP locally. Neither shall Envision source and material or service for the countries under sanction for purpose of performance of this contract. Envision shall follow international business practice, commits that no corruption, no force labour, not child labour. | [7 empty] | 合同必查-M/Must-check elements-M | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.071429 | 0 | 14 | M | L | Y | M | L | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-040 | No | 风机/Wind turbine | 澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | b | Yes | Yes | A | LTSA-SER-040-0002 |  | 远景对LTSA项下提供的备件或服务在备件交付或服务完成后1年内提供质保 如该备件或服务在合同期限结束1年以内提供，则： 1，争取达成：合同期限结束后，前述给备件和服务提供的质保同时结束；或 2，合同期限结束后，前述给备件和服务提供的质保尚在1年期限内，质保依然有效，但如在有效的质保期内发生质保范围内的事项，远景仅提供备件或其它材料，而不提供人工服务；或， 3，远景提供包括物料和人工在内的完整质保服务 4，LTSA无论因何种原因被终止，本条下的质保在合同被终止时结束 对于上述2,3，提供的质保服务，不再有质保 上述1,2,3,4同样适用TSA质保 Envision provides 1-year warranty for spare parts or services upon the replacement/completion of the parts or services. On condition that the spare parts or services are provided within 1 year before the end of term(during i.e. the last year of the term), then: 1. Striving for : after the end of term, the warranty for spare parts and service provision shall terminate as well; or 2. After expiry of the LTSA Term, if such service is still in its warranty period, the Contractor’s obligation of such remainder of warranty shall be limited to supply relevant component only or, 3. Envision provides a complete warranty service including materials and personal services. For the above Sub-clause 2 and 3, the warranty shall not be extended. 4. In case the LTSA is terminated, due to whatever reason, the warranty under this term shall be terminated when the LTSA is terminated. Sub-clause 1, 2, 3 and 4 are also applicable to TSA warranty | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.5 | 0 | 6 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-040 | No | 风机/Wind turbine | 印度/India |  | LTSA | 服务卷 Service |  |  | NA | c | Yes | Yes | A | LTSA-SER-040-0001 |  | 远景对LTSA项下提供的备件或服务在备件交付或服务完成后1年内提供质保 如该备件或服务在合同期限结束1年以内提供，则： 1，争取达成：合同期限结束后，前述给备件和服务提供的质保同时结束；或 2，合同期限结束后，前述给备件和服务提供的质保尚在1年期限内，质保依然有效，但如在有效的质保期内发生质保范围内的事项，远景仅提供备件或其它材料，而不提供人工服务；或， 3，远景提供包括物料和人工在内的完整质保服务 4，LTSA无论因何种原因被终止，本条下的质保在合同被终止时结束 对于上述2,3，提供的质保服务，不再有质保 上述1,2,3,4同样适用TSA质保 Envision provides 1-year warranty for spare parts or services upon the replacement/completion of the parts or services. On condition that the spare parts or services are provided within 1 year before the end of term(during i.e. the last year of the term), then: 1. Striving for : after the end of term, the warranty for spare parts and service provision shall terminate as well; or 2. After expiry of the LTSA Term, if such service is still in its warranty period, the Contractor’s obligation of such remainder of warranty shall be limited to supply relevant component only or, 3. Envision provides a complete warranty service including materials and personal services. For the above Sub-clause 2 and 3, the warranty shall not be extended. 4. In case the LTSA is terminated, due to whatever reason, the warranty under this term shall be terminated when the LTSA is terminated. Sub-clause 1, 2, 3 and 4 are also applicable to TSA warranty | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.5 | 0 | 8 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-041 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | No | Yes | A | LTSA-SER-041-0001 |  | 远景有权选择以何种方式提供LTSA项下的质保服务，包括修理，更换，或赔偿。当以选择的方式履行后，该质保服务完成 客户有时会要求只换不修，不应接受 客户应允许使用翻新部件 It’s Envision's discretion to decide how to correct any failure or defect, replace or repair. Obligaiton of warranty shall be deemed fulfilled after the performance of such method chosen by Envison. Sometimes, the Employer may request replacement only. It's not acceptable. Refurbished parts shall be allowed. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.071429 | 0 | 14 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-042 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-042-0001 |  | 除非协议各方另有约定，否则以下情况不属于远景质保范围： 正常磨损 不可抗力造成的损坏 因客户违约或未能履行其工作而使缺陷而导致的补救工作 因环境条件超出风力发电机组设计规范而造成的任何缺陷或损坏 由远景以外的责任方造成的任何损坏或损失 任何非 Envison 根据 TSA 提供的物品 Unless otherwise agreed by parties, the following shall be excluded from Envision's warranty： Normal wear and tear Damages caused by Force Majeure The remedy work to any defect is caused by Employer's breach, or fail to fulfill its part of work, Any defect or damage casued by the ambien condition(s),which is(are) out of the design specification of WTGs Any damage or loss caused by party other than Envision Anything that is not supplied by Envison under TSA. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.42857 | 0 | 14 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-027 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-027-0001 |  | 远景在LTSA项下为客户提供的可利用率保证首选TBA 参考TBA计算公式标准文件： TS-0000039-P0000-B 《Time-based Availability guarantee》 Envision shall provide availability guaranty, preferably TBA Envision's standard calculation formula of TBA shall apply, refer to the standard document： TS-0000039-P0000-B Time-based Availability guarantee CAWTGi=(1-Uh/(Ah+Uh+Nch))*100% | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.13333 | 0 | 15 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-028 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-028-0001 |  | 根据项目具体情况查询《TS-0000042-P0000-【*】 Availability Guarantee Baseline》的最新版,作为指导。使用时请确认【*】版本号。 check “TS-0000042-P0000-【*】 Availability Guarantee Baseline” according to the specific situation of the project as reference. Use the latest version, by checking version 【*】 LD准备金应根据风场上网电价和AEP估算，并记入成本 LD provision shall be calculated according to the tariff and AEP, and budgeted into cost. 针对单机可用率： 1）首选不提供单机可用率保证； 2）如单机可用率保证是签约必要条件，对单机可用率保证值要经过审批。审批时，须提交单机LD计算方法，以及对整场LD的影响。 Availability for single WTG: 1)Try not to provide any availability guaranty for single WTG; 2)If availability for single turbine is a deal breaker, it must be approved. the calculation of LD for single WTG, and the impact to the total LD to be provide when seeking approval. |  |  |  | /energy-incuba/incuba_v2_prod/uploads/1934883820308496384/TS-0000042-P0000-C Availability Guarantee Baseline.xlsx,/energy-incuba/incuba_v2_prod/uploads/1934886030424629248/TS-000~2.DOC |  |  |  | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.13333 | 0 | 15 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-030 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-030-0001 |  | 赔偿金额LD=保证可用率GAA/实际可用率CAA*实际发电量PEO*电价T-实际发电量PEO*电价T LD=GAA/CAA*PEO*T-PEO*T | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.4 | 0 | 15 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-031 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-031-0001 |  | 50% 性能额外奖励 Revenue Share 50% | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.46667 | 0 | 15 | H | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-029 | Yes | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | a | Yes | Yes | A | LTSA-SER-029-0003 |  | TBA和EBA对时间片（风机状态）的定义相同 首选使用远景的标准TBA或EBA可用率保证文件 如果使用客户模板，须查阅《TS-0000040-P0000-C Energy-based Availability (EBA) Guarantee》将时间片定义逐条对照，予以偏离（如有）； 1. Full Performance：The WTGS is operative and generating according to design specifications with no technical restrictions other limitations which affect generation. 【Available】 2. Partial Performance：The WTG is operative and generating with technical restrictions or other limitations which affect generation 1） External constraints: environmental conditions (temperature, dust, turbulence, etc.), grid stability support modes, or other external factors (noise, shadow, wake, etc.)【Available】 2） Internal constraints: component damage or the need to prevent component damage, e.g. component overheating, vibration levels, converter cooling system reductions, etc.【Proportionally Available】 3. Technical Standby: The WTG is temporarily not generating power due to performance of autonomous tasks required for maintaining the intended functions【Available】 1） safety loop testing(but each turbine should not exceed 5 minutes per month due to WTG internal constraints) 2） components and system self-testing (each turbine does not exceed 10 minutes per month due to WTG internal constraints) 3） untwisting of cables 4） heating, drying out, or cooling down from status “Out of environmental specification” 5） de-icing after a period of "out of environmental specification" on ice build-up; 6） ramp-up time - from a command to completion of command; 7） dry out time after WTGs stop/pause with high humidity. 4. Out of Environment Specification：【Available】 1) wind speed below the cut-in wind speed (as set forth in the Technical Specifications) or above the cut-off speed (as set forth in the Technical Specification) at hub height, including related hysteresis periods. 2) downtime due to ambient temperature above or below specification, 3) icing conditions 4) storm 5) lightning, etc. 5. Requested Shutdown 【Available】 1) safety related events 2) security breach related events 3) grid management requested by Employer 4) downtime due to Employer´s activities incl. inspection, training, test, demonstration 5) acoustic power management level reduction requested by Employer 6) bird/bat protection at the request of Employer 7) sector or shadow management requested by Employer 8) the WTG being paused or withdrawn from use by or at the request of Employer, Employer's representative, entitled third parties, grid operator or authorities (except an OEM default) 9) Additional Services (out of the scope of services defined in Service Agreement) requested by Employer 10) downtime caused by employer's failure to comply with any of his obligations under the Service Agreement or Turbine Supply Agreement 6. Out of Electrical Specification【Available】 1) downtime, breakdown, or shutdown of the Wind Turbine due to any exclusion as grid outage 2) downtime caused by substation, electricity line, feeders, or other equipment which are not provided by Service Provider. 3) other events out of electrical specification, including but not limited to voltage, frequency, phase imbalance. 7. Scheduled Maintenance【48-72 hours/WTG/year, Available】 8. Planned Corrective Action【Available】 The period of a WTG during which actions required to retain, restore, or improve the generating function of a WTG when these actions are not part of normal scheduled maintenance. Corrective actions where the need is identified prior to any actual failure and early enough to be planned and completed before resulting in a possible forced outage. 1) retrofits and upgrades 2) required corrective actions identified through condition-based maintenance, inspections, investigations etc. 9. Forced Outage 【Not Available】 1) The WTG is disabled due to damage, fault, failure, or alarm. 2) This can be detected manually or automatically. 10. Suspension: The period of a WTG during which activities in SCHEDULED MAINTENANCE, PLANNED CORRECTIVE ACTION and FORCED OUTAGE have to be interrupted or cannot be initiated due to conditions which compromise personal safety or equipment integrity.【Available】 1) access limitations because of e.g. high waves, ice, snow, storm. 2) adverse weather conditions like lightning, tornados, hail. 3) reduction of risks initiated by the activities like bush fire. 4) Suspension of work due to personnel safety and permit requirements. 5) Site working conditions are not met to fulfill obligations. Service restrictions: in case the Employer does not buy recommended spare parts, including main components, under TSA, and such part(s) is(are) not available and need to be shipped from outside of xx native country, the following provision which is longer shall apply: Downtime due to replacement of main components, which shall not exceed 120 days for one replacement. The lead time of crane which is needed to change or repair a main component. 11. Force Majeure :The period of a WTG during which an extraordinary event or circumstance beyond the control of the parties involved prevents the parties from fulfilling their obligations. in accordance with the definition under the LTSA (Long Term Service Agreement)【Available】 12. Information Unavailable:The period of a WTG during which the category INFORMATION AVAILABLE is not applicable 1) Due to the failure of PLC of the turbine, or other failure of turbine components of communication.【Not Available】 2) Due to the communication line between WTG and substation where SCADA is placed【Available】 3) Due to the equipment supplied by Envision at the substation, such as computer failure, communication device failure, etc. 【Not Available】 4) Due to the communication line from substation to the SCADA user computer【Available】 13. Downtime for corrective or scheduled activities【Available】 The period of time which is not possible to perform a safe work by people due to weather conditions or high/low temperatures or typhoon or lightning event. 14. Downtime for Access means【Available】 The period of time which is not possible to perform a safe travel to WTG position due to weather or sea conditions for corrective maintenance, including the tools and spares. 15. Downtime for lifting vessel 【Available】 The period of time which is not possible to perform large corrective activities due to lifting vessel unavailable or unsafe travel to WTG position. | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 0 | L | L | N | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-033 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-033-0001 |  | 根据项目具体情况查询《TS-0000042-P0000-【*】 Availability Guarantee Baseline》,作为指导。使用最新的版本，注意版本【*】号 Query TS-0000042-P0000-【*】 Availability Guarantee Baseline according to the specific situation of the project as reference. Use the latest by checking 【*】 LD准备金应根据风场上网电价和AEP估算，并记入成本 LD provision shall be calculated according to the tariff and AEP, and budgeted into cost. 针对单机可用率： 1）首选不提供单机可用率保证； 2）如单机可用率保证是签约必要条件，对单机可用率保证值要经过审批。审批时，须提交单机LD计算方法，以及对整场LD的影响。 Availability for single WTG: 1)Try not to provide any availability guaranty for single WTG; 2)If availability for single turbine is a deal breaker, it must be approved. the calculation of LD for single WTG, and the impact to the total LD to be provide when seeking approval. |  |  |  | /energy-incuba/incuba_v2_prod/uploads/1934885937484103680/TS-000~1.DOC |  |  |  | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-050 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | b | No | Yes | A | LTSA-SER-050-0001 |  | 基线：不提供对单机的可用率保证 Standard Baseline： No availability warranty on single WTG. | 保单机可用率，不超过90%. 在此单台风机LD计算并赔偿后，计算全场平均可用率LD时，应将此台风机排除在外，即，不重复赔偿。 Aggressive baseline, to be approved: the availability shall not be higher than 90% for single WTG, after the LD is calculated and paid for this single WTG, it shall be excluded from the calculation of average availability of WTGs, i.e., LD shall not be double counted. | 保单机可用率，不超过92%. 在此单台风机LD计算并赔偿后，计算全场平均可用率LD时，应将此台风机排除在外，即，不重复赔偿。 Aggressive baseline, to be approved: the availability shall not be higher than 92% for single WTG, after the LD is calculated and paid for this single WTG, it shall be excluded from the calculation of average availability of WTGs, i.e., LD shall not be double counted. | [5 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element |  |  |  | 0 | 0 | 7 | L | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-032 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-032-0001 |  | 远景EBA标准文件 TS-0000040-P0000-B Energy-based Availability (EBA) Guarantee EBAWTGi=(EPi+ELExcusablei)/(EPi+Eli+ELExcusablei)*100% PEA=(∑Ni EBAWTGi)/N | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.14286 | 0 | 14 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-035 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | e | Yes | Yes | A | LTSA-SER-035-0001 |  | 赔偿金额LD=(保证可用率GAA-实际可用率PEA)/实际可用率PEA*实际发电量PEO*电价T LD=(GAA-PEA)/PEA*PEO*T 支付LD是针对可用率低于保证值唯一且排他的补偿方式。 | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0 | 0 | 14 | L | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-036 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-036-0001 |  | 超发奖金INC=(实际可用率PEA-保证可用率GAA)/实际可用率PEA*实际发电量PEO*电价T*0.5 INC=(PEA-GAA)/PEA*PEO*T*0.5 | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.071429 | 0 | 14 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB
V6.0 | 商品保证 Warranty of Services | LTSA-SER-034 | No | 风机/Wind turbine | 印度/India,澳洲/Australia,亚非/Asia-Africa,欧洲/Europe,拉美/Latin America |  | LTSA | 服务卷 Service |  |  | NA | d | Yes | Yes | A | LTSA-SER-034-0001 |  | TBA和EBA对时间片（风机状态）的定义相同 首选使用远景的标准TBA或EBA可用率保证文件 如果使用客户模板，须查阅《TS-0000040-P0000-C Energy-based Availability (EBA) Guarantee》将时间片定义逐条对照，予以偏离（如有）； 1. Full Performance：The WTGS is operative and generating according to design specifications with no technical restrictions other limitations which affect generation. 【Available】 2. Partial Performance：The WTG is operative and generating with technical restrictions or other limitations which affect generation 1） External constraints: environmental conditions (temperature, dust, turbulence, etc.), grid stability support modes, or other external factors (noise, shadow, wake, etc.)【Available】 2） Internal constraints: component damage or the need to prevent component damage, e.g. component overheating, vibration levels, converter cooling system reductions, etc.【Proportionally Available】 3. Technical Standby: The WTG is temporarily not generating power due to performance of autonomous tasks required for maintaining the intended functions【Available】 1） safety loop testing(but each turbine should not exceed 5 minutes per month due to WTG internal constraints) 2） components and system self-testing (each turbine does not exceed 10 minutes per month due to WTG internal constraints) 3） untwisting of cables 4） heating, drying out, or cooling down from status “Out of environmental specification” 5） de-icing after a period of "out of environmental specification" on ice build-up; 6） ramp-up time - from a command to completion of command; 7） dry out time after WTGs stop/pause with high humidity. 4. Out of Environment Specification：【Available】 1) wind speed below the cut-in wind speed (as set forth in the Technical Specifications) or above the cut-off speed (as set forth in the Technical Specification) at hub height, including related hysteresis periods. 2) downtime due to ambient temperature above or below specification, 3) icing conditions 4) storm 5) lightning, etc. 5. Requested Shutdown 【Available】 1) safety related events 2) security breach related events 3) grid management requested by Employer 4) downtime due to Employer´s activities incl. inspection, training, test, demonstration 5) acoustic power management level reduction requested by Employer 6) bird/bat protection at the request of Employer 7) sector or shadow management requested by Employer 8) the WTG being paused or withdrawn from use by or at the request of Employer, Employer's representative, entitled third parties, grid operator or authorities (except an OEM default) 9) Additional Services (out of the scope of services defined in Service Agreement) requested by Employer 10) downtime caused by employer's failure to comply with any of his obligations under the Service Agreement or Turbine Supply Agreement 6. Out of Electrical Specification【Available】 1) downtime, breakdown, or shutdown of the Wind Turbine due to any exclusion as grid outage 2) downtime caused by substation, electricity line, feeders, or other equipment which are not provided by Service Provider. 3) other events out of electrical specification, including but not limited to voltage, frequency, phase imbalance. 7. Scheduled Maintenance【48-72 hours/WTG/year, Available】 8. Planned Corrective Action【Available】 The period of a WTG during which actions required to retain, restore, or improve the generating function of a WTG when these actions are not part of normal scheduled maintenance. Corrective actions where the need is identified prior to any actual failure and early enough to be planned and completed before resulting in a possible forced outage. 1) retrofits and upgrades 2) required corrective actions identified through condition-based maintenance, inspections, investigations etc. 9. Forced Outage 【Not Available】 1) The WTG is disabled due to damage, fault, failure, or alarm. 2) This can be detected manually or automatically. 10. Suspension: The period of a WTG during which activities in SCHEDULED MAINTENANCE, PLANNED CORRECTIVE ACTION and FORCED OUTAGE have to be interrupted or cannot be initiated due to conditions which compromise personal safety or equipment integrity.【Available】 1) access limitations because of e.g. high waves, ice, snow, storm. 2) adverse weather conditions like lightning, tornados, hail. 3) reduction of risks initiated by the activities like bush fire. 4) Suspension of work due to personnel safety and permit requirements. 5) Site working conditions are not met to fulfill obligations. Service restrictions: in case the Employer does not buy recommended spare parts, including main components, under TSA, and such part(s) is(are) not available and need to be shipped from outside of xx native country, the following provision which is longer shall apply: Downtime due to replacement of main components, which shall not exceed 120 days for one replacement. The lead time of crane which is needed to change or repair a main component. 11. Force Majeure :The period of a WTG during which an extraordinary event or circumstance beyond the control of the parties involved prevents the parties from fulfilling their obligations. in accordance with the definition under the LTSA (Long Term Service Agreement)【Available】 12. Information Unavailable:The period of a WTG during which the category INFORMATION AVAILABLE is not applicable 1) Due to the failure of PLC of the turbine, or other failure of turbine components of communication.【Not Available】 2) Due to the communication line between WTG and substation where SCADA is placed【Available】 3) Due to the equipment supplied by Envision at the substation, such as computer failure, communication device failure, etc. 【Not Available】 4) Due to the communication line from substation to the SCADA user computer【Available】 | [7 empty] | 合同必查-H/Must-check elements-H | 合同要素 Contract Element | 服务开发及解决方案中部屋 Service Development and Solutions Mid War Room |  |  | 0.083333 | 0 | 12 | M | L | Y | H | H | Contract_TBBCBB_servicing | 国际资产运维解决方案中部屋 International Asset O&M Solution Mid War Room | Contract_TBBCBB_LTSAservice | LTSA服务解决方案CBB LTSA Service Solution CBB